BUREAU OF PURCHASING- CITY OF YONKERS & YONKERS PUBLIC SCHOOLS

ONE LARKIN CENTER, YONKERS, NY 10701

REQUEST FOR QUOTATION - This Is Not an Order

08/11/2017                                                                        Bid No:

TO: Prospective Bidders		 – 3 PAGES(S)

PLACE OF PERFORMANCE: School 13, 195 McLean Avenue, Yonkers, NY 10705

All price quotes must be firm, i.e., no price adjustments are allowed.  All quotes are deemed F.O.B. Destination.  Payment terms are Net 30 Days, unless a discount is offered for prompt payment.  NOTE: The New York State Tax Law exempts the City of Yonkers from the payment of sales and use taxes on all purchases – tax exemption numbers are not issued to governmental entities.  The Tax Law states that vendors are not required to collect tax when they are presented with the City’s official Purchase Order or Contract document.

| Estimated Start of Work | Quote Not Later Than | F. O. B. |
| --- | --- | --- |
| ASAP | Wednesday, August 16, 2017 at 2 PM | DESTINATION |
| NOTICE TO CONTRACTOR: If this work involves the employment of laborers, workmen, or mechanics under Articles 8 or 9 of the NYS Labor Law, the Contractor and its Subcontractors (if any) must pay these employees at least the Prevailing Wage rate and supplements, and these employees may not work more than the number of hours and days as set forth by the NYS Department of Labor per the Labor Law. The current NYS Prevailing Wage Schedule can be found at http://wpp.labor.state.ny.us/wpp/publicViewPWChanges.do?method=showIt. Plumbing and Electrical contractors must be licensed by the Trades Licensing Division of the Westchester County Clerk (914-995-2657). Bidder warrants under penalty of perjury that it’s Quote was arrived at independently and without collusion aimed at restricting competition. Any resultant contract shall be construed in accordance with the laws of the State of New York. The Contractor will be required to provide at his own cost and expense any and all safety devices as may be required by the Project Manger. All work must comply with applicable Federal, State, and local laws, rules, and regulations. Contractor shall be responsible for removal of all waste material from the job site and for its lawful disposal. The Contractor shall, on a daily basis, thoroughly clean and keep clean the work site, all roadways, sidewalks, and other indoor and outdoor areas in connection with this Work. Insurance: Required coverage: A) The Contractor shall provide Worker's Compensation Insurance and Employer's Liability Insurance as required under the New York State Worker's Compensation Law. B) The Contractor shall maintain Commercial General Liability Insurance (combined single limit-bodily injury and property damage) in the minimum amount of $2,000,000 in the general aggregate, $1,000,000 per occurrence, $1,000,000 products/completed operations aggregate; Automobile Liability (combined single limit-bodily injury and property damage) in the minimum amount, of $1,000,000 per person each occurrence for bodily injury, $100,000 per occurrence property damage in the following coverage’s-comprehensive, owned, hired, and non-owned with a company or companies licensed in New York State with an A or better Best Rating. The Certificate of Insurance for the above coverage must include the YONKERS Contract or Purchase Order number, bear a notation evidencing a minimum of 30-day cancellation notice or notice determined by NY Insurance Law §3426 and by the insurance policy to YONKERS, and include the City of Yonkers and Eisenbach & Ruhnke Engineering, P.C. as additional insured. It must also include a waiver of subrogation in favor of the City of Yonkers. PROJECT DESCRIPTION: EMERGENCY VINYL ASBESTOS FLOOR ABATEMENT AT SCHOOL 13 RETURN QUOTATION VIA EMAIL TO: Lee Pavone, (lpavone@yonkerspublicschools.org), (914) 376-8008 REQUEST FOR INFORMATION: Jack Eisenbach at Eisenbach & Ruhnke Engineering, P.C., jeisenbach@erengpc.com, (315) 335-1103 There will be a Pre-Bid Meeting on Monday, August 14, 2017 at 2PM. All bidders will meet at the Main Entrance. SCOPE OF WORK: Removal and disposal of the following asbestos containing materials: Room 203 – Approximately 96 Sq. Ft. of floor tile and plywood to be removed. There is VAT under the plywood that will also be removed. The removed area will then have new plywood and floor tile provided. Floor leveling to be done as required. The plywood will be screwed to the underlying wood sub-floor. Room 205 – Approximately 28 Sq. Ft. of floor tile and plywood to be removed. The VAT under the plywood will also be removed. The removed area will then have new plywood and floor tile provided. Floor leveling to be done as required. Four tiles will also be removed and the plywood screwed to the substrate. Then four new VCT tiles will be provided. Room 204 - Approximately 2 Sq. Ft. of floor tile and plywood to be removed. The VAT under the plywood would also be removed. The removed area will then have new plywood and floor tile provided. Floor leveling to be done as required. Room 206 – Three areas will have the VCT removed and the plywood screwed down. New VCT then will be provided. Room 308 - 1 Sq. Ft. of floor tile and plywood to be removed. The VAT under the plywood will also be removed. The removed area will then have new plywood and floor tile provided. Floor leveling to be done as required. Room 302 – Approximately 16 Sq. Ft. of floor tile and plywood to be removed. The VAT under the plywood would also be removed. The removed area will then have new plywood and floor tile provided. Floor leveling to be done as required. A variance has been requested to allow the screwing of the plywood down where indicated above without any containment. A copy of the variance request is attached. The bid should be based upon the variance being granted. Unit Price Unit of Measure: Per Square Foot. Include 100 square feet to remove and replace VCT with new VCT. This does not involve any asbestos abatement work. .This unit price to add or subtract from this quantity. SCHEDULE: Work to be completed upon receipt of signed contract by District. Work to start August 21, 2017 and be completed by August 25, 2017. SUBMITTALS: Prior to start of work provide the following: NYSDOL and Building Occupant Notifications; Workers certifications and medical records; Identification of waste disposal location; Identification of Supervisor and certifications; Company Asbestos license. After Completion of Work provide the following: Workers certifications for individuals not originally provided; Signed waste disposal location form landfill; Project daily log; Completed Work Area Entry Logs. REGULATIONS: All work shall be completed in compliance with the applicable standard of the Commissioner of Education, New York state Department of Labor Part 56 of title 12, and the United States Environmental Protection Agency Asbestos Hazard Emergency Response Ace. CONDITIONS: The contractor is responsible for all fees for permits and notifications. The contractor is responsible for obtaining any necessary variances to complete the work. The overall project is under 160 sq.ft. of flooring. Please provide a price quote for furnishing and providing all necessary material, machinery, equipment, tools, labor, services, skill and other items of whatever nature required and to do and perform all the work necessary to perform all work as described in the scope of work. NY STATE PREVAILING RATE CASE NUMBER: 2017008896 THE RESULTANT CONTRACT SHALL BE REGISTERED WITH THE DEPT. OF LABOR. CERTIFIED PAYROLLS MUST BE SUBMITTED WITH PAYMENT REQUISITIONS. QUOTATION: (To be entered by Contractor) The undersigned CONTRACTOR, with a complete understanding of the aforementioned requirements, specifications, and the existing conditions at the Work Site (if required), and having inspected the Work Site (if required) and having become familiar with all conditions likely to be encountered affecting the cost and scheduling of the work, and having a complete understanding of the work specifications and insurance requirements hereby offers the amount set forth below as full compensation for all costs and expenses of completing the work in accordance with the terms, conditions and specifications presented herein and at the site inspection (if required), including, but not limited to all labor, materials, tools, equipment, overhead, fees and profit. (A) Base Bid Price in Figures: $________________________________________________________________________________________ (A) Base Price in Words: $_____________________________________________________________________________________________ (B) Unit Bid Price for 100 S.F.of VCT Replacement in Figures: $______________________________________________________________________ (B) Unit Bid Price for 100 S.F.of VCT Replacement in Words: $_______________________________________________________________________ Total Contract Price (A+B) in Figures:$________________________________________________________________________________________ Total Contract Price (A+B) in Words:$__________________________________________________________________________________________ Availability to Start Work ______________________________________________________________________________________________ CONTRACTOR Date: __________________Telephone No:____________________________Fax No:__________________________________ Name of Company _____________________________________________________________Federal ID #________________________________ Address ______________________________________________________________________________________________________________ Name of person quoting (please print)________________________________________________Title__________________________________________________________ Signature ________________________________________________E-Mail _________________________________________________ |